Ribble Valley Borough Council

DOCUMENT 1

CLITHEROE CASTLE KEEP

STRUCTURAL REPAIRS.

Engineering Section

Council Offices

Church Walk

CLITHEROE

Lancashire

BB7 2RA

Tel: 01200 425111

CONTENTS

PAGE NO

Important Notice	3

Summary Instructions and Details of Contract	4

Timetable	5

Background	7

Conditions of Tender	9

Instructions to Persons Tendering	31

Construction Industry Tax Deduction Scheme	32

Certificate of Non-Collusion	33

Undertaking Statement	35

Pre Construction Health and Safety Information	36

Bankers Letter	43

Conditions of Contract (including modifications)…………………………………………………….………44

Special Conditions of Contract	45

List of Subcontractors	50

Special Requirements in Relation to Central Electricity Generating Board and Area Electricity Boards	….51

Special Requirements in Relation to Cadent Gas Ltd	52

Special Requirements in Relation to Openreach Ltd	54

Special Requirements in Relation to United Utilities, Yorkshire Water and the Environment Agency (EA)	55

Specification	56

Schedule of Works	65

Summary Sheet	73

IMPORTANT NOTICE

This Invitation to Tender (“ITT”) is issued to those wishing to tender (“Tenderers”) to Ribble Valley Borough Council (the “Council” and the “Client”) for the Clitheroe Castle Keep Structural Works project.

The contents of this ITT and of any other documentation sent to you in respect of this tender process, are provided on the basis that they remain the property of the Council and must be treated as confidential.  If you are unable or unwilling to comply with this requirement you are required to destroy this ITT and all associated documents immediately and not to retain any electronic or paper copies.

### No Tenderer will undertake any publicity activities with any part of the media in relation to the Contract or this ITT process without the prior written agreement of the Council, including agreement on the format and content of any publicity.

This ITT is made available in good faith.  No warranty is given as to the accuracy or completeness of the information contained in it and any liability or any inaccuracy or incompleteness is therefore expressly disclaimed by the Council and its advisers.

The Council reserves the right to cancel the tender process at any point. The Council is not liable for any costs resulting from any cancellation of this tender process nor for any other costs incurred by those tendering for this Contract.

Ribble Valley Borough Council have appointed Clach Conservation Engineering on its behalf to provide historical context to the structural works and will represent the Council on-site to inspect all materials and workmanship at key stages of the works.

You are deemed to understand fully the processes that the Council is required to follow under relevant European and UK legislation, particularly in relation to The Public Contracts Regulations 2015.

SUMMARY INSTRUCTIONS AND DETAILS OF CONTRACT

| ITEM | CONTRACT DETAILS |
| --- | --- |
| Contract Description: | Clitheroe Castle Keep is a Norman Keep. The Keep and associated museum are accessed either via steep stone steps up from the entrance to the castle grounds, or by a tarmac drive leading to the Museum, Keep and other buildings. The Castle is constructed from solid stone walls with lime mortar and is a Grade 1 Listed Building and a Scheduled Monument. The original Listing of the building, written by English Heritage is detailed as follows: CASTLE GATE 1. 5295 (South-West Side) ----------------- Clitheroe Castle SD 7441 1/2 19.5.50. GV ### Clitheroe Castle is a castle noted in Domesday Book. Consists principally of a small C12 square tower keep with flat corner turrets, 1 of which contains a staircase. Entrance, originally into the 2nd story, is now by breaches into the ground story. All floors appear to have been made of wood. The keep is advantageously placed on a steep crag. The inner bailey must have been to the South and fragments of ancient walls and masonry are to be seen in the park and incorporated into buildings, stables and offices (qv). ### The keep stands on a prominent outcrop of rock which forms a natural motte. ### A structural conservation survey was undertaken in 2023 concluding works were required to preserve the openings, wall head, spiral staircase and delaminated quoins. Scheduled monument consent is a requirement from Historic England to allow for works to scheduled monuments to ensure that the works done to the structure are appropriate and sympathetic to the character of the structure and are carried out by qualified contractors and signed off by competent persons. Consent for the works is granted by the secretary of state. Ribble Valley Borough Council have appointed Clach Conservation Engineering on its behalf to provide historical context to the structural works and Clach Conservation Engineering will represent the Council on-site to inspect all materials and workmanship at key stages of the works. Ordnance Survey co-ordinates are : Easting 374244, Northing 441692. |
| Insurance Requirements: | - Public Liability of £10 million - Employers Liability of £10 million - Professional indemnity of £2 million - Insurance of the Works in accordance with Clause 6.7 JCT Intermediate Building Contract with Contractors Design, Option A Proof of insurances will be required on award of contract. |
| Procuring Officer: | Any queries must be submitted by email to procurement@ribblevalley.gov.uk by 5:00pm on Friday 8th August 2025 |
| Submission instructions: | ## 2 Paper Copies |
| Tenders to be sent to: | ## Head of Legal and Democratic Services, ## Council Offices, Church Walk, ## Clitheroe, ## Lancashire, ## BB7 2RA POSTAL ONLY Tenders submitted by facsimilie or electronic transmission will not be considered. |
| Date/time for Tender return: | No later than 2:00pm on Friday 15th August 2025 |
| Packaging: | Tenders must be submitted in a plain sealed envelope or package which shall bear the word “TENDER FOR CLITHEROE CASTLE KEEP WORKS” and shall not bear any name or mark indicating the sender. |

Timetable

This timetable is indicative only. The Council reserves the right to change it at its discretion.

| Stage | Date(s)/time |
| --- | --- |
| Deadline for Submission of Tenders | 2:00pm on Friday 15th August 2025 |
| Evaluation of Tenders | 18th August 2025 to 22nd August 2025 |
| Notification of result of evaluation | 22nd August 2025 |
| Mandatory Standstill Period | 25th August 2025 to 7th September 2025 |
| Expected date of award of Contract(s) | 8th September 2025 |
| Contract commencement | Programme of Works To Be Agreed |
| Contract Completion | Friday 24th April 2026 |

CHECKLIST FOR TENDERERS

Failure to provide all of the items in the checklist may cause your Tender to be non-compliant and not be considered.

| No | Item | Included in Tender? |
| --- | --- | --- |
|  | All information requested, pages 10 - 24 |  |
|  | Certificate of Non-Collusion and Non-Canvasing , pages 33-34 |  |
|  | Undertaking Statement, Page 35 |  |
|  | Bankers Letter, Page 43 |  |
| 6. | Attestation, pages 44 -45 |  |
| 7. | Schedule of Works, Pages 67 - 74 |  |

- BACKGROUND

1.1	Clitheroe Castle Keep is a Norman Keep. The Keep and associated museum are accessed either via steep stone steps up from the entrance to the castle grounds, or by a tarmac drive leading to the Museum, Keep and other buildings.

The Castle is constructed from solid stone walls with lime mortar and is a Grade 1 Listed Building and a Scheduled Monument. The original Listing of the building, written by English Heritage is detailed as follows:

CASTLE GATE 1. 5295 (South-West Side) ----------------- Clitheroe Castle SD 7441 1/2 19.5.50. GV

### Clitheroe Castle is a castle noted in Domesday Book. Consists principally of a small C12 square tower keep with flat corner turrets, 1 of which contains a staircase. Entrance, originally into the 2nd story, is now by breaches into the ground story. All floors appear to have been made of wood. The keep is advantageously placed on a steep crag. The inner bailey must have been to the South and fragments of ancient walls and masonry are to be seen in the park and incorporated into buildings, stables and offices (qv).

### The keep stands on a prominent outcrop of rock which forms a natural motte.

### A structural conservation survey was undertaken in 2023 concluding works were required to preserve the openings, wall head, spiral staircase and delaminated quoins.

Scheduled monument consent is a requirement from Historic England to allow for works to scheduled monuments to ensure that the works done to the structure are appropriate and sympathetic to the character of the structure and are carried out by qualified contractors and signed off by competent persons. Consent for the works is granted by the secretary of state.

  - If you have any questions or require any clarifications, please email the address shown below:

procurement@ribblevalley.gov.uk before 5:00pm on Friday 18th July 2025

  - Other than the person or persons identified in sec. 1.2, no Council employee or member of the Council has the authority to give any information or make any representation (express or implied) in relation to this ITT or any other matter relating to the Contract.

  - Please note that the Council’s responses to any queries or clarification requests may, at the Council’s discretion, be published on the council’s website at:  www.ribblevalley.gov.uk/cpt

  - The Council reserves the right to issue supplementary documentation at any time during the tendering process to clarify any issue or amend any aspect of the ITT.  All such further documentation that may be issued shall be deemed to form part of the ITT and shall supplement and/or supersede any part of the ITT to the extent indicated.  Supplementary documentation will be published on the council’s website at:  www.ribblevalley.gov.uk/cpt

  - Tenderers must obtain for themselves at their own expense all information necessary for the preparation of their Tenders.

  - Under the Contract the Council will require compliance with its policies. Tenderers are advised to satisfy themselves that they understand all of the requirements of the Contract before submitting their Tender.

  - The Tender must be received in accordance with the relevant instructions no later than the time and date indicated.

# 2.	CONDITIONS OF TENDER

## 2.1	Tenders must be completed in the English language or a full English translation provided at no cost to the Council.

## 2.2	Only one Tender is permitted from each Tenderer. In the event that more than one is submitted by a Tenderer the one with the latest time of submission will be evaluated and the other(s) disregarded.

## 2.3	The Tender (including price) should remain valid for a minimum period of 90 days.

## 2.4		The Tender should not be qualified in any way.

## 2.5	Any signatures must be made by a person who is authorised to commit the Tenderer to the Contract.

## 2.6	Your full registered business/name and main office address must also be provided on all documents.

## 2.7	Abnormally Low Tenders

Where the pricing of a Tender is abnormally low the Council reserves the right to reject the Tender in accordance with the requirements for further investigation under The Public Contracts Regulations 2015.

# 3.	CONTRACT DOCUMENTS

## 3.1	Any resulting Contract will be on the JCT Intermediate Building Contract with Contractor’s Design 2024 as amended by those amendments set out on page 44 of this tender document and the additional terms set out on pages 45 to 49 of this tender document.

## 3.2	The Council can not enter into any negotiations on the Tender or Contract.

## 3.3	Any contract award will be conditional on the Contract being approved in accordance with the Council’s internal procedures and the Council being generally able to proceed and will allow the statutory standstill period of a minimum of 10 calendar working days to elapse before sending confirmation of contract award to the successful Tenderer.

# 4.	TENDER EVALUATION AND AWARD CRITERIA

## 4.1	The Council does not undertake to accept the lowest or any Tender and reserves the right to accept the whole or any part of any Tender submitted.

## 4.2	Each Tender will be checked initially for compliance with all requirements of the ITT.

## 4.3	Tenders will be evaluated against the award criteria set out below.

## 4.4	During the evaluation period, the Council reserves the right to seek clarification in writing from the Tenderers, to assist it in its consideration of their Tenders.

## 4.5	The Council may decide to interview Tenderers, to assist its tendering process, and Tenderers will be notified in due course.

## 4.6	Tenders will be evaluated to determine the most economically advantageous tender taking into consideration the award criteria.

## 4.7	Tenders will be evaluated to determine the qualities of the tenderers.  Only bids that pass all this selection criteria will be evaluated.  The criteria are:

- Grounds for Exclusion:  This section will be evaluated pass/fail basis.

- Insurance: This section will be evaluated pass/fail basis.

## We will seek evidence relating to the question. Justification to fail is not to provide the adequate insurance levels.

- Financial Information: This section will be evaluated pass/fail basis.

## Tenders will be evaluated for overall acceptability and sound financial condition to perform the estimated size of the contract. We will seek evidence relating to the questions, if required.

- Health and Safety: This section will be evaluated pass/fail basis.

- Environmental Issues:  This section will be evaluated pass/fail basis.

- Technical Capacity:  This section will be evaluated pass/fail basis.

- Equality and Diversity:  This section will be assessed and responses evaluated on a pass/fail basis.  Organisations must demonstrate they comply with equality in employment legislation. We will seek evidence relating to questions, if required.

- Modern Slavery Act 2015:  This section will be assessed and responses evaluated on a pass/fail basis.

## 4.8	Tenders will be evaluated on the following control measures as follows:

## 70%		Cost. Price evaluation will be conducted using the CIPFA % difference model.

## 30%		The Contractor should provide detailed information, including photographs, illustrating their experience of delivering similar works to listed buildings and scheduled monuments using historical methods and materials, such as lime mortar works..

## 4.9	The successful tenderer will have the greatest combination of the two control measures without any ‘fails’ in the selection criteria.

## PRICING

    - Tenderers must base their tender upon the contract documents which include the drawings, Conditions of Contract, Specification and the Schedule of Works.

    - All Prices shall be stated in pounds sterling and exclusive of VAT.

    - If any sums in the Schedule of Works are omitted the tender will be void.

    - The Schedule of Works sums must include all temporary and permanent costs associated with each item.

- INFORMATION REQUIRED

5.1	Organisation Profile

Please provide the following details:

Business name (or Consortium Name):

Registered or trading name if different:

Type of organisation (e.g. private limited company, partnership, sole trader):

Registered address:

Correspondence address if different from the above:

Address from which the Contract will be provided if different from the above:

Name of ultimate holding/parent company or subsidiary companies including addresses and an explanation of group structure and internal relationships:

Company Registration Number of ultimate holding/parent company or subsidiary companies:

If you have included details of an ultimate holding/parent company above would this company be willing to guarantee your contract performance and enter into any requisite legal documentation?

Indication of the principal areas of business activity of your organisation:

| Contact name: |  |
| --- | --- |
| Contact's position: |  |
| Contact's telephone number: |  |
| Contact's fax number: |  |
| Contact’s email address: |  |
| Companies registration number(s): |  |
| Place of registration: |  |
| Year established: |  |
| VAT number: |  |

5.2	GROUNDS FOR EXCLUSION

This section will be evaluated on a pass/fail basis.

Please confirm that, to the best of your knowledge, the organisation named above is not in breach of the provisions of Regulation 57 of the Public Contracts Regulations 2015 as summarised below.

5.2.1.	Mandatory Grounds

The organisation (or its directors or any other person who has powers of representation, decision or control of such organisation) has not been convicted of any of the following offences:

| Conspiracy within the meaning of section 1 of the Criminal Law Act 1977 where that conspiracy relates to participation in a criminal organisation as defined in Article 2(1) of Council Joint Action 98/733/JHA;or | YES/NO (Delete as appropriate) |
| --- | --- |
| Corruption within the meaning of section 1 of the Public Bodies Corrupt Practices Act 1889 or section 1 of the Prevention of Corruption Act 1906; or | YES/NO (Delete as appropriate) |
| The offence of bribery; or | YES/NO (Delete as appropriate) |
| Fraud, where the offence relates to fraud affecting the financial interests of the European Communities as defined by Article 1 of the Convention relating to the protection of the financial interests of the European Union, within the meaning of:- - the offence of cheating the Revenue; or - the offence of conspiracy to defraud; or - fraud or theft within the meaning of the Theft Act 1968 and the Theft Act 1978; or - fraudulent trading within the meaning of section 458 of the Companies Act 1985; or - defrauding the Customs within the meaning of the Customs and Excise Management Act 1979 and the Value Added Tax Act 1994; or - an offence in connection with taxation in the European Community within the meaning of section 71 of the Criminal Justice Act 1993; or - destroying defacing or concealing of documents or procuring the extension of a valuable security within the meaning of section 20 of the Theft Act 1968; or | YES/NO (Delete as appropriate) |
| Money laundering within the meaning of the Money Laundering Regulations 2003; or | YES/NO (Delete as appropriate) |
| Any other offence within the meaning of Article 45(1) of the Public Sector Directive. | YES/NO (Delete as appropriate) |

If you are unable to confirm any of the above, please give details below, including any action taken to resolve the situation.

Please confirm the following statements or give details if you answer no to any of the questions.

5.2.2 	Discretionary Grounds

The organisation (or its directors or any other person who has powers of representation, decision or control of such organisation) confirms that:

| Being an individual he is not bankrupt or has not had a receiving order or administration order or bankruptcy restrictions order made against him or has not made any composition or arrangement with or for the benefit of his creditors or has not made any conveyance or assignment for the benefit of his creditors or does not appear able to pay or to have no reasonable prospect of being able to pay, a debt within the meaning of section 268 of the Insolvency Act 1986, or article 242 of the Insolvency (Northern Ireland) Order 1989, or in Scotland has not granted a trust deed for creditors or become otherwise apparently insolvent, or is not the subject of a petition presented for sequestration of his estate, or is not the subject of any similar procedure under the law of any other state; or | YES/NO (Delete as appropriate) |
| --- | --- |
| Being a partnership constituted under Scots law it has not granted a trust deed or become otherwise apparently insolvent, or is not the subject of a petition presented for sequestration of its estate; or | YES/NO (Delete as appropriate) |
| Being a company or any other entity within the meaning of section 255 of the Enterprise Act 2002 has not passed a resolution or is not the subject of an order by the court for the company’s winding up otherwise than for the purpose of bona fide reconstruction or amalgamation, or has not had a receiver, manager or administrator on behalf of a creditor appointed in respect of the company’s business or any part thereof or is not the subject of the above procedures or is not the subject of similar procedures under the law of any other state; or | YES/NO (Delete as appropriate) |
| They have not been convicted of a criminal offence relating to the conduct of the business or profession; or | YES/NO (Delete as appropriate) |
| They have not committed an act of grave misconduct in the course of the business or profession; or | YES/NO (Delete as appropriate) |
| It has fulfilled obligations relating to the payment of social security contributions under the law of any part of the United Kingdom or of the relevant State in which the organisation is established; or | YES/NO (Delete as appropriate) |
| It has fulfilled obligations relating to the payment of taxes under the law of any part of the United Kingdom or of the relevant State in which the economic operator is established; or | YES/NO (Delete as appropriate) |
| They are not guilty of serious misrepresentation in providing any information required of them under this regulation; or | YES/NO (Delete as appropriate) |
| In relation to procedures for the award of a public services contract, it is licensed in the relevant State in which he is established or is a member of an organisation in that relevant State when the law of that relevant State prohibits the provision of the services to be provided under the contract by a person who is not so licensed or who is not such a member; or | YES/NO (Delete as appropriate) |
| Where applicable, it is registered with the appropriate trade or professional register(s) in the EU Member State where it is established (as set out in Annex IXB of Directive 2004/18/EC) under the conditions laid down by that Member State. | YES/NO (Delete as appropriate) |

If you are unable to confirm any of the above, please give details below, including any action taken to resolve the situation.

5.2.3 	Insurance

This section will be evaluated on a pass/fail basis.

Please provide confirmation that you have or, if successful, will buy the following minimum levels of insurance:

|  | Confirmed |
| --- | --- |
| Public liability £10 million | YES/NO |
| Employers liability £10 million | YES/NO |
| Professional Indemnity £2 million | YES/NO |

The successful tenderer will be required to provide the Council with proof of insurance cover prior to commencement of the contract.

5.2.4 	Financial Information

This section will be evaluated on a pass/fail basis.

We may seek evidence relating to the questions below, if required and we reserve the right to use the services of an independent third party to assess your financial standing/appraisal

What was your turnover in the last two years (if this applies)?

| £ ……..……… for year ended __ / __ / ____ | £ ……..……… for year ended __ / __ / ____ |
| --- | --- |

Has your organisation met the terms of its banking facilities and loan agreements (if any) during the past year?

YES/NO (delete as appropriate)

If the answer to the above question is no, what were the reasons, and what has been done to put things right?

Has your organisation met all its obligations to pay its creditors and employees during the past year?

YES/NO (delete as appropriate)

If the answer to the above question is no, please explain why not:

Have you completed the draft Bankers Letter attached

YES/NO (delete as appropriate)

What is the name and branch of your bankers who could provide a reference?

| Name |  |
| --- | --- |
| Branch |  |
| Contact Details |  |

The following must be provided:

A copy of your most recent accounts, audited if applicable (for the last two years if this applies).  If not applicable please provide an Accountant’s Reference instead

| Please tick the box to confirm the above documents are enclosed: |  |
| --- | --- |

The following may be requested:

Income and Expenditure Statement, Balance Sheet and Cash Flow Forecast for the current year and a bank letter outlining the current cash and credit position

| Please confirm you could provide documents if requested: | Yes | No |
| --- | --- | --- |

NOTES TO ORGANISATION: - Where the organisation is a subsidiary of a group all questions must be answered for both the subsidiary and the ultimate parent. - Where this Tender is being submitted as a consortium, the above information is required for each member organisation

5.2.5 Health and Safety

This section will be evaluated on a pass/fail basis.

Responsibility and Structure

Please state the name and position of the person with overall responsibility for health and safety in your organisation together with details of experience and any relevant qualifications.

| Name |  |
| --- | --- |
| Position in Organisation |  |
| Experience |  |
| Qualifications |  |

Please state the name and position of the person (if different to above) appointed to provide health and safety advice as required by Regulation 7 of the Management of Health & Safety Work Regulations 1999, together with details of experience and any relevant qualifications.

| Name |  |
| --- | --- |
| Position in Organisation |  |
| Experience |  |
| Qualifications |  |

How many persons does your organisation normally employ?

Does your organisation (not individuals within it) have current membership of any trade associations, safety organisations, registration with or accreditation by any accrediting bodies, for example CHAS or equivalent?

YES/NO (delete as appropriate)

If the answer is yes, provide details, using full names of associations, bodies and any applicable registration number.  Please do not use abbreviations.

NOTES TO ORGANISATION: - Organisations are informed that the Council operates a policy that an organisation will pass the Council’s Health and Safety requirements on the basis that they participate in the relevant Contractor Health & Safety Assessment Scheme (CHAS) “Scheme” or similar approved. - Organisations will therefore not have to complete the remainder of the Health and Safety section of this tender, if they participate in the Scheme. Organisations who do not participate in the Scheme are required to complete the remainder of the Health and Safety section.

Policies and Procedures

Does your organisation have a written Health and Safety Policy (covering General Policy, Organisation and Arrangements) as required by Section 2(3) of the Health and Safety at Work etc Act 1974 and issue any codes of safe working practices to workforce?

YES/NO (delete as appropriate)

If the answer is yes please enclose a copy of the policy.

If your organisation does not have a written Health and Safety Policy please give the reason why.

Please state how health and safety policies and procedures are communicated to your workforce and administered within your organisation?

Does your organisation have a procedure for the reporting and recording of accidents and dangerous occurrences in accordance with RIDDOR?

YES/NO (delete as appropriate)

Have you enclosed a copy of your procedure for accident reporting, recording and investigation?

YES/NO (delete as appropriate)

Please complete the following table in respect of accidents and dangerous occurrences as set out below.

| Year | Fatal | Major Injury or “Over 3-Day” | Non-Reportable | Dangerous Occurrences | Reportable ill-health | Near Misses |
| --- | --- | --- | --- | --- | --- | --- |
| This year |  |  |  |  |  |  |
| Last year |  |  |  |  |  |  |
| Year before last |  |  |  |  |  |  |

During the last five years, has the organisation been subject to formal enforcement (e.g. Prosecution, Prohibition Notice or Improvement Notice) for contravention of the Health and Safety at Work etc Act 1974, or equivalent legislation arising from your conduct of activities similar to those covered by this contract?

YES/NO (delete as appropriate)

If the answer is yes, please provide full details and explain corrective action taken to prevent re-occurrence.

Does your organisation have Risk Assessment Procedures in place for all work activities as required by the Management of Health and Safety at Work Regulations 1999 and associated legislation?

YES/NO (delete as appropriate)

If the answer is yes, please supply 2 examples of risk assessments and safety method statements for work activity undertaken within the last 12 months relevant to the works included in this contract

| Copy of above enclosed if appropriate | Yes | No |
| --- | --- | --- |

Does your organisation have a health and safety training programme for your workforce to ensure that they are competent for their duties?

YES/NO (delete as appropriate)

If the answer is yes, please enclose brief details of training courses or programmes undertaken by managers and workforce.

Does your organisation have arrangements in place for consultation with workforce on health and safety matters?

YES/NO (delete as appropriate)

Where appropriate, does your organisation undertake health monitoring of workforce?

YES/NO (delete as appropriate)

If the answer is yes, please provide details.

If your organisation uses sub-contractors, do you have a system in place for assessing their competence and the ongoing monitoring and review of their Health and Safety performance?

YES/NO (delete as appropriate)

If the answer is yes, please provide details.

Do you have a system in place for monitoring your Health and Safety arrangements including auditing them at periodic intervals and for reviewing them on an ongoing basis?

YES/NO (delete as appropriate)

If the answer is yes, please provide details including examples.

| Name of Person completing this form |  |
| --- | --- |
| Position in Organisation |  |
| Contact Tel No |  |
| Email Address |  |
| Date |  |
| Signature |  |

5.2.6	ENVIRONMENTAL ISSUES

This section will be evaluated on a pass/fail basis.

| Environmental |  |
| --- | --- |
| The Council is committed to the protection of the environment and the promotion of sustainable environmental development. Tenderers should note the various obligations contained within the Contract which will ensure that the successful Tenderer will provide the Contract in a non-detrimental manner to the environment. |  |
| Would you be willing to work with the Council regarding any environmental protection issues the Council considers relevant, comply with contractual obligations and carry out any reasonable requests to ensure the protection of the environment and promotion of sustainable development throughout the Contract Period. | Yes / No |

5.2.7	TECHNICAL CAPACITY

This section will be evaluated on a pass/fail basis.

| Technical Capacity |  |
| --- | --- |
| ### The Organisation must demonstrate that they have the technical capacity to carry out this project and we will seek evidence relating to the questions below, if required. |  |
| The Principal Contractor has to be demonstrate that he/she has previously undertaken work on scheduled monuments and historic buildings, by way of a case study (use separate paper , if required). | Yes / No |

5.2.8 	EQUALITY AND DIVERSITY

This section will be evaluated on a pass/fail basis.

### The Organisation must demonstrate they comply with equality in employment legislation and we will seek evidence relating to the questions below, if required.

### The Council is committed to: Providing its services in a way that promotes equality of opportunity at every possibility.  It is expected that the successful Tenderer will be equally committed to equality and diversity in its employment practices and service provision, and will ensure compliance with all anti-discrimination legislation.

#### Expectation of the Tenderer: Tenderers should note that the successful Tenderer will be asked to contract with the Council to ensure that they adhere to these obligations.  The Council will, if appropriate, monitor the successful Tenderer’s compliance throughout the Contract Period.

#### Compliance with Equality Legislation: The Council requires service providers to demonstrate that they comply with equality in employment legislation.  The levels of compliance become more demanding depending on the number of employees employed by the organisation.  Organisations employing less than 5 employees face minimum requirements, whilst organisations employing 50 or more employees need to meet more comprehensive criteria.  During the Contract Period the Council may work with contractors, who at present do not fully comply, to help them put in place policies and practices to do so.

#### LEVEL 1 (LESS THAN 5 EMPLOYEES)

#### Organisations with fewer than 5 directly employed persons will be expected to meet the appropriate level of compliance for the delivery of the Contract.  Should recruitment increase the size of the organisation to 5 or more employees the organisation will be expected to meet the appropriate level of compliance.

#### LEVEL 2 (5 TO 49 EMPLOYEES)

#### All organisations with between 5 and 49 employees must achieve criteria 1 – 4 listed below.

- All organisations must have an equality policy in respect of race, gender, disability, age, sexual orientation and religion/belief that covers at least:

- Recruitment, selection, training, promotion, discipline, grievance and d	dismissal.

- Discrimination, harassment, and victimisation, making it clear that these are disciplinary offences within the firm.

- Identification of the senior position with responsibility for the policy and its effective implementation.

- How you communicate the policy to your employees.

- Effective implementation of the policy in the organisation’s recruitment practices, to include open recruitment methods such as the use of job centres, careers service or press advertisements.

- The policy should either be reviewed to reflect changes in legislation or within a three-year period whichever occurs first.

- To monitor the gender, disability and ethnicity of job applicants.  We would also encourage organisations to monitor in respect of age, sexual orientation and religion/belief.

#### LEVEL 3 (50 OR MORE EMPLOYEES)

#### All organisations with 50 or more employees must achieve criteria 1-4 in level 2 and the additional criteria 5-10 listed below:

- Provide written instructions to managers and supervisors on equality in recruitment, selection, training, promotion, discipline, grievance and dismissal of employees.

- Provide equality training for managers and any employees responsible for recruitment and selection.

- In addition to criterion 4 (Level 2) carry out monitoring on the number of employees from different gender, disability and ethnic groups by grade when:

- in post

- applying for posts

- taking up training and development opportunities

- promoted

- transferred

- disciplined and dismissed

- a grievance is raised

- leaving employment

#### The Council would also encourage organisations to monitor in respect of age, sexual orientation and religion/belief.

- If the above monitoring reveals inequalities, organisations will be expected to take steps to address imbalances.

- In respect of 7 and 8 above, annual monitoring and reporting is required regarding equality issues within the workforce.

- Organisation’s recruitment advertisements and publicity literature should state that equal opportunities practices are in place.

Does your organisation comply with its legal obligations relating to the following?

| Race | YES/NO (delete as appropriate) |
| --- | --- |
| Sexual Orientation | YES/NO (delete as appropriate) |
| Disability | YES/NO (delete as appropriate) |
| Age | YES/NO (delete as appropriate) |
| Religion or Belief | YES/NO (delete as appropriate) |
| Gender | YES/NO (delete as appropriate) |
| Human Rights | YES/NO (delete as appropriate) |
| NOTE TO ORGANISATION: You must keep up to date with relevant changes in legislation. |  |

In the last three years has any finding of unlawful discrimination been made against your organisation by any court or industrial or employment tribunal?

YES/NO (delete as appropriate)

In the last three years has your organisation been the subject of a formal investigation on grounds of alleged unlawful discrimination by, for example, the Commission for Racial Equality (CRE), Disability Rights Commission (DRC), Equal Opportunities Commission (EOC) or Equality and Human Rights Commission (EHRC)?

YES/NO (delete as appropriate)

If the outcome of either of the last two questions (above) was yes, what actions were you required to take as a result of that finding or investigation?

If you were required to take action, what action did you take?

If you were required to take action and no action was taken, please explain why not?

If you were required to take action, did the action taken satisfy the relevant organisation?

YES/NO (delete as appropriate)

5.2.9	MODERN SLAVERY ACT 2015

| Are you a relevant commercial organisation as defined by section 54 ("Transparency in supply chains etc.") of the Modern Slavery Act 2015 ("the Act")? | YES/NO |
| --- | --- |
| If you have answered yes to the question above, are you compliant with the annual reporting requirements contained within Section 54 of the Act 2015? | YES - Please provide the relevant web address to view the statement NO - Please provide an explanation |

## 6.	CORPORATE REQUIREMENTS

## 6.1	The Council has a statutory requirement to ensure compliance with a number of corporate considerations when providing its services.  The Council is delivering its services when a contractor is delivering services on behalf of the Council.  It is therefore incumbent upon the Council to ensure that these statutory requirements are carried out by any contractor that is working for the Council.  Consequently, the Council is looking for a commitment within Tenders to assisting the Council in these duties.  The Council does not consider that these requirements will be onerous and so pricing should not be affected in complying with any of these obligations but if a Tenderer believes there is a pricing impact, the impact of complying with these obligations should be clearly identified in their Pricing Schedule.

# 7.0	CLARIFICATION MEETINGS, SITE VISITS AND INTERVIEWS

7.1	The Council reserves the right to hold clarification meetings, site visits and interviews as it considers appropriate both before and after Tender submission.  Responses to any questions you submit may, at the Council’s discretion be circulated to all Tenderers.

## 7.2	Tenderers are only permitted access to the site by pre-arranged appointments with the Council.  Representatives of the Council must accompany Tenderers when they visit and inspect the site.

## 7.3	Tenderers will additionally be able to meet with the Council to discuss their approach to the requirements.  Any issues raised at the meeting which are not commercially confidential will be shared with the other Tenderers.

# 8.0	FREEDOM OF INFORMATION ACT AND ENVIRONMENTAL INFORMATION STATEMENT

  - The Council is subject to The Freedom of Information Act 2000 (“Act”) and The Environmental Information Regulations 2004 (“EIR”).

  - As part of the Council’s obligations under the Act or EIR, it may be required to disclose information concerning the procurement process or the Contract to anyone who makes a reasonable request.

  - If Tenderers consider that any of the information provided in their Tender is commercially sensitive (meaning it could reasonably cause prejudice to the organisation if disclosed to a third party) then it should be clearly marked as "Not for disclosure to third parties” together with valid reasons in support of the information being exempt from disclosure under the Act and the EIR.

  - The Council will endeavour to consult with Tenderers and have regard to comments and any objections before it releases any information to a third party under the Act or the EIR.  However the Council shall be entitled to determine in its absolute discretion whether any information is exempt from the Act and/or the EIR, or is to be disclosed in response to a request of information.  The Council must make its decision on disclosure in accordance with the provisions of the Act or the EIR and can only withhold information if it is covered by an exemption from disclosure under the Act or the EIR.

  - The Council will not be held liable for any loss or prejudice caused by the disclosure of information that:

- has not been clearly marked as "Not for disclosure to third parties" with supporting reasons (referring to the relevant category of exemption under the Act or EIR where possible); or

- does not fall into a category of information that is exempt from disclosure under the Act or EIR (for example, a trade secret or would be likely to prejudice the commercial interests of any person); or

- in cases where there is no absolute statutory duty to withhold information, then notwithstanding the previous clauses, in circumstances where it is in the public interest to disclose any such information.

### 9.0	HEALTH AND SAFETY

### 9.1	The Council is fully committed to meeting its responsibilities under the Health and Safety at Work etc. Act 1974, the Management of Health and Safety at Work Regulations 1999 and associated protective legislation. The Council requires any contractor delivering works, goods or services on behalf of the Council to support it in meeting its health and safety responsibilities. To this end the Contractor should familiarise themselves with the Council’s “Health and Safety Policy – General Statement of Intent” included with these Invitation to Tender documents.

# INSTRUCTIONS TO PERSONS TENDERING

1.	These instructions are issued for the guidance of tenderers and will not form part of the contract. Failure to comply with these instructions may result in the rejection of a tender.

2.	Tenderers are advised to examine the Drawings, Conditions of Contract, Specification and Schedule of Works and also to inspect the site of the works. If larger sized drawings are required by the tenderer, then a request should be made to the Contract Administrator who will be able to make these available for collection only. The whole of these documents should be read and their true intent and meaning ascertained before the Schedule of Works is priced. Any apparent ambiguities, errors or omissions in the tender documents should be notified to the Contract Administrator without delay.

3.	No unauthorised alteration or addition is to be made to the drawings, Conditions of Contract, Specification or Schedule of Works, qualified tenders may be rejected.

4.	Should any alterations or additions to the documents as issued to the tenderers be deemed necessary prior to the date for submission of the tenders, these will be issued to all tenderers in the form of supplementary or amendment sheets and tenderers will be required to acknowledge receipt of any such supplementary or amendment sheet.

5.	Tenderers should submit offers for the whole of the works only.

6.	Tenderers will treat the tender document and all details contained therein as private and confidential.

7.	One copy of the Schedule of Works, fully priced and accompanied by copies of the Conditions of Contract, Specification and any other required particulars including Pre-Construction Phase Plan with required Method Statements, shall be submitted to Ribble Valley Borough Council no later than 2:00pm on Friday 1st August 2025.

8.	Where examination of a tender reveals errors or discrepancies which would affect the tender total in an otherwise successful tender, the tenderer will be given details of such errors and discrepancies and afforded an opportunity to confirm or withdraw his offer. If the tenderer withdraws his offer, the next tenderer in competitive order will be examined and dealt with in the same way.

9.	All quantities in this Schedule of Works are provisional and claims will not be considered for any variations in these amounts.

10.	The appointed Principal Contractor should provide the Employer with a detailed Programme of Works within 21 days of award of contract.and before works commence on site.

## BOROUGH OF RIBBLE VALLEY

## FINANCE (NO 2) ACT 1975

# CONSTRUCTION INDUSTRY TAX DEDUCTION SCHEME

In connection with the provisions of the above-mentioned Act, the following information is required:

I/We are in possession of a tax exemption certificate

Classified:	* I
	* P
	* C

*	I/We are not at present in possession of a relevant tax exemption certificate.

*	I/We understand that the Borough of Ribble Valley has previously been appraised of the current position regarding my/our tax certification.

*	Delete as applicable.

I/We undertake to furnish the Borough of Ribble Valley with the necessary evidence of certification at any time on request.

Signed:

On behalf of:

SHORT DESCRIPTION OF WORKS

Clitheroe Castle Keep is a Norman Keep. The Keep and associated museum are accessed either via steep stone steps up from the entrance to the castle grounds, or by a tarmac drive leading to the Museum, Keep and other buildings.

The Castle is constructed from solid stone walls with lime mortar and is a Grade 1 Listed Building and a Scheduled Monument.

### The keep stands on a prominent outcrop of rock which forms a natural motte.

### A structural conservation survey was undertaken in 2023 concluding works were required to preserve the openings, wall head, spiral staircase and delaminated quoins.

Scheduled monument consent is a requirement from Historic England to allow for works to scheduled monuments to ensure that the works done to the structure are appropriate and sympathetic to the character of the structure and are carried out by qualified contractors and signed off by competent persons. Consent for the works has been granted by the Secretary of State.

Ribble Valley Borough Council

CLITHEROE CASTLE KEEP STRUCTURAL REPAIRS

CERTIFICATE OF NON-COLLUSION AND NON-CANVASSING

To:	Ribble Valley Borough Council

Council Offices

Church Walk

Clitheroe

Lancashire

BB7 2RA

Date:

For the Attention of: Head of Legal and Democratic Services

Statement of non-canvassing

I/we hereby certify that I/we have not canvassed any member, Director, employee, representative or adviser of the Council in connection with the proposed award of the Contract by the Council, and that no person employed by me/us or acting on my/our behalf, or advising me/us, has done any such act.

I/we further hereby undertake that I/we will not canvass any member, Director, employee, representative or adviser of the Council in connection with the award of the Contract and that no person employed by me/us or acting on my/our behalf, or advising me/us, will do any such act.

Statement of non-collusion

The essence of selective tendering for the Contract is that the Council shall receive bona fide competitive Tenders from all Tenderers.

In recognition of this principle, I/we certify that this is a bona fide offer, intended to be competitive and that I/we have not fixed or adjusted the amount of the offer in accordance with any agreement or arrangement with any other person (except any sub-contractor identified in this offer).

I/we also certify that I/we have not done, and undertake that I/we will not do, at any time any of the following acts:

- communicate to a person other than the Council, the amount or approximate amount of my/our proposed offer except where the disclosure in confidence of the approximate value of the Tender was essential to obtain insurance premium quotations required for the preparation of the Tender; or

- enter into any agreement or agreements with any other person that they shall refrain from tendering or as to the amount of any offer submitted by them; or

- offer or agree to pay or give or actually pay or give any sum of money, inducement or valuable consideration, directly or indirectly, to any person for doing or having done or having caused to be done in relation to any other offer or proposed offer, any act or omission.

I/we agree that the Council may, in its consideration of the offer and in any subsequent actions, rely upon the statements made in this Certificate.

Signed:	……………..........................

Name:   …………………………………………..

Position:	……………..........................

For and on behalf of [Tenderer]

..................................................

Ribble Valley Borough Council

CLITHEROE CASTLE KEEP STRUCTURAL REPAIRS

UNDERTAKING STATEMENT

Before submitting the tender document, please ensure that:

# You have answered all the questions;

# You have enclosed all documents requested;

# You have read and signed the undertaking below.

I certify that the information supplied regarding the Applicant is accurate to the best of my knowledge and that I accept the conditions and undertakings requested in the questionnaire.  I understand and accept that false information could result in rejection of the tender.

I also understand that it is a criminal offence, punishable by imprisonment, to give or offer any gift or consideration whatsoever as an inducement or reward to any servant of a public body.  I also understand that any such action will result in rejection of our tender and empower the Council to cancel any contract currently in force.

I understand and agree that if our tender is successful that the Applicant will purchase professional indemnity insurance as required if such insurance is not already held.

I understand and agree to the conditions set out in the Freedom of Information and Environmental Information Statement.

NB This undertaking is to be signed by a Partner, Director or authorised representative i.e. in their name on behalf of the Applicant.

Signed for and on behalf of the Applicant:

Signed:

Position/Status in the Applicant:

Applicant’s name:

Applicant’s address:

Date:

Ribble Valley Borough Council

CLITHEROE CASTLE KEEP STRUCTURAL WORKS

PRE-CONSTRUCTION HEALTH AND SAFETY INFORMATION

CDM  2015

# Project Title: - Clitheroe Castle Keep Structural Works.

| SECTION 1. |  | ## DESCRIPTION OF PROJECT |
| --- | --- | --- |
| - Project Description and Nature of works (include timescale) |  | Clitheroe Castle Keep is a Norman Keep. The Keep and associated museum are accessed either via steep stone steps up from the entrance to the castle grounds, or by a tarmac drive leading to the Museum, Keep and other buildings. The Castle is constructed from solid stone walls with lime mortar and is a Grade 1 Listed Building and a Scheduled Monument. ### The keep stands on a prominent outcrop of rock which forms a natural motte. ### A structural conservation survey was undertaken in 2023 concluding works were required to preserve the openings, wall head, spiral staircase and delaminated quoins. Scheduled monument consent is a requirement from Historic England to allow for works to scheduled monuments to ensure that the works done to the structure are appropriate and sympathetic to the character of the structure and are carried out by qualified contractors and signed off by competent persons. Consent for the works is granted by the secretary of state. The Schedule of Works includes making safe a number of openings by structural improvement works, tying the façade, repairs to the spiral stone staircase and sealing repairs to the wall head, including rough racking. |
| Location |  | ### Clitheroe Castle Keep is to the west of Clitheroe town centre and has the Ordnance Survey coordinates Easting 374244, Northing 441692. |
| Programme details including commencement and duration. |  | It is expected that works on-site will begin in September 2025 continuing until April 2026. The Principal Contractor together with the Contract Administrator will agree a programme of works to minimise restricted public access to the Castle keep and Perimeter Wall during the Schedule of Works. |
| Client |  | Ribble Valley Borough Council Council Offices Church Walk Clitheroe BB7 2RA Tel: 01200 425111 |
| Principal Designer |  | Ribble Valley Borough Council Council Offices Church Walk Clitheroe BB7 2RA Tel: 01200 425111 |
| Existing records |  | Utility records have been checked online and included under separate cover. |
| Surveys undertaken |  | Topographical Survey by Site Surveying Services Ltd. Drainage survey has been undertaken by RVBC staff. |
| HSE F10(rev) Notification sent |  | The F10 will be submitted to the Health and Safety Executive (HSE) on the appointment of the Principal Contractor |
| HSE Area Office |  | HSE, Redgrave Court, Merton Road Bootle, Merseyside, L20 7HS Tel: 0345 300 9923 |
| Contact |  | (name) (tel. no) Winston Robinson 01200 414495 |
| This Pre-construction information has been supplied for the determination of resources necessary to meet the health and safety requirements for the pre- construction phase of the above project, and shall not be used as the Construction Phase Health and Safety Plan |  |  |
| ## SECTION 2 | ### CLIENT’S CONSIDERATIONS AND MANAGEMENT REQUIREMENTS |  |
| Structure and organisation | All persons working on site must be competent to carry out the duties requested of them. Any person placed in charge of the site will be conversant with all of the Principal Contractor’s duties under the CDM2015. HSE expect all site managers on CDM projects to have undergone the CITB 5-day Site Managers Safety Training Scheme or equivalent to be able to demonstrate competence. The Principal Contractor must be satisfied that all sub-contractors are competent prior to offering appointments. Sub-contractors must undergo a form of health and safety competence assessment relevant to the duties they are asked to perform. Contractors will be required to confirm that health and safety standards on site will be controlled and that welfare facilities will be provided, in accordance with schedule 2 of the CDM2015 Regulations, prior to commencement on site. Formerly known as the Construction Health Safety and Welfare Regulations 1996. The Principal Contractor will be required to provide relevant information to the Client to be included within Health & Safety file for the building. The site layout, size, parking and access/egress points, restricts vehicle access. There are parking/turning restrictions at the sites. The contractor must review the site plan and assess the movement of site transport. The construction phase plan must include the proposal for traffic management and deliveries to consider the heavy foot and vehicle traffic immediately outside the site. |  |
| Safety Goals | The following health and safety goals are required on this project: Monitoring of accidents and near misses with a goal of zero major accidents and zero near misses. Minimise risk, disruption or inconvenience to the general public, who will require access to the surrounding Castle Grounds area during the works. |  |
| Permits and authorisation | The Principal Contractor must agree procedures for the control of visitors to site. Such procedures will include site inductions and the signing in and out of visitors to the site and arrangements for accompanying them at all times. |  |
| Emergency procedures | First aid –The Principal Contractor must identify those with first aid responsibilities. The nearest accident and emergency hospital is Blackburn A&E. Fire – The principal contractor must arrange fire prevention and fire-fighting equipment. This should include regular liaison regarding any temporary obstructions to means of escape, fire doors, alarms etc. And coordination with the Clients activities. The principal contractor is to report any incidents to Ribble Valley Borough Council representative in addition to the statutory authorities under The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 1995 (RIDDOR) as they require the 'responsible person' to notify any death, reportable injury, disease or dangerous occurrence, to the relevant enforcing authority. |  |
| Site rules | The following arrangements are required on this project: No radios are permitted or any behaviour inappropriate to areas accessed by members of the public. Regular report on progress to be provided to client to including details of incidents and near misses. The Principal Contractor to have a continuous presence on site. No headphones to be used on site. All equipment brought to site must be fit for purpose and where necessary. Inspected and tested in accordance with relevant legislation. Electrical supply for tools and equipment must not be in excess of 110 Volts and should have an RCD protection. Ensure all who are likely to work on site (inc. subcontractors) are aware of the rules before they go on site. Ensure the Client is aware of any changes that may be required before the changes take place. No smoking onsite or abusive / foul language on any area of the site at any time. Operatives must be ‘Competent’ to carry out work for which have been engaged. Know the emergency procedure rules. Keep work areas tidy, consider others working in that area and keep them informed where necessary. Appropriate PPE/relevant procedures to be worn / followed at all times. |  |
| Liaison arrangements between parties | Regular meetings to be held between the Client and the Principal Contractor to discuss progress, financials, health and safety and any other issues that could affect the contract. The Client to agree a series of meetings with the Principal Contractor before work proceeds on-site. |  |
| Security arrangements | The works are predominantly external in nature and will be accessible mostly by scaffolding with working platforms by the Principal Contractor. The working site is to be enclosed with appropriate fencing to prevent unauthorised access during construction. The site compound is to be enclosed with appropriate fencing/barriers to prevent unauthorised access. Materials, tools and substances should only be stored in a secure compound when not in use. If working at height requires scaffolding all reasonable measures to prevent access to the scaffold should be employed, e.g. any access ladder removed when unattended or at the end of each working day. The Principal Contractor must ensure that a banksman is provided to assist reversing vehicles. |  |
| SECTION 3 | ENVIRONMENTAL RESTRICTIONS AND EXISTING ON-SITE RISKS |  |
| Boundaries and access | The Site Compound is to be situated close to the working site at an approved location. |  |
| Adjacent land uses | The majority of the surrounding land is park land, with many uses. |  |
| Existing storage of hazardous materials | N/A |  |
| Location of existing services | To be provided under separate cover. |  |
| Welfare Facilities | Sufficient space for toilet and welfare facilities should be made available in the designated site compound area. The contractor will be responsible for ensuring that the facilities meet the requirements of the CDM Regulations 2015. The Construction Phase Plan should include how the Principal Contractor will meet the requirements for site welfare, i.e. wash facilities, drying facilities, drinking water, toilets and rest facilities. Suitable facilities must be provided from the commencement of the project, reflecting the numbers of operatives on site and the nature of the work being undertaken. The Construction Phase Plan must additionally describe how these facilities will be maintained. |  |
| Ground conditions | Drawings with statutory undertaker detail will be provided to the Principal Contractor by the Client however, the contractor is responsible for identifying all underground services and for protecting them during the works. |  |
| Local Features | In close proximity to the Castle Keep is the Castle Museum, the War Memorial and a childrens’ playground |  |
| Hazardous materials | The following hazardous substances have been highlighted in the surveys provided. The Principal Contractor is required to assess the risks from the substances and ensure that suitable controls are implemented: None Identified |  |
| Health risks arising from Principal Contractor’s activities | The Castle keep will remain closed to the general public throughout the works However, the immediate surrounding area will be open to the public. Therefore the contractor must ensure controls are put in place to prevent risks due to contract vehicular traffic mixing with pedestrians. |  |
| SECTION 4 | SIGNIFICANT DESIGN AND CONSTRUCTION HAZARDS |  |
| Design assumptions and control measures | (Principles of design) Designers should ensure that risks are at best, eliminated, and at worst, that they are controlled. The Principal Contractor will need to recognise and identify the hazards associated with the nature and location of the work and should put in practice suitable controls to minimise risks to the workforce and the general public. |  |
| Significant and principal hazards | - Utilities - General Public/Vehicle Manoeuvres - Weather - Fragile materials. - Abrasive materials/chemical burn materials - Vehicle Movements - Electrical. - Collapse or overturning. - Slips, trips or falls. - Working from heights - Falls from height. - Inadequate guardrail - Lack of adequate tethering. - Lack of toe boards. - Struck by moving, flying or falling object. - Ladder defects. - Slow rescue of person suspended on harness. - Injury/Damage caused by power tools. - Injury/Damage caused by manual tools. - Lifting/manual handling - Dust - Noise - Guards and fail safe’s to equipment - PPE, including eye and ear protection |  |
| Materials requiring particular precautions | None expected |  |
| SECTION 5 | EMERGENCY CONTACT NUMBERS |  |
| Gas (Cadent) | Tel: 0800 111 999 |  |
| Electricity North West | Tel: 0800 195 4141 |  |
| British Telecom | Tel: 100 |  |
| Environment Agency | Tel: 0800 807 060 |  |

Ribble Valley Borough Council

CLITHEROE CASTLE KEEP STRUCTURAL REPAIRS

BANKERS LETTER

BANKERS LETTER

Date:

Bank

Dear Sirs

# Re: Bankers Reference

I confirm that, by authority of this letter, I give permission for:

Council

To be supplied with a current bank reference in respect of:

Account Name:

Account Number:	 	 			 (12345678)

Sort Code:			 			 (99-99-99)

Branch:

Any costs associated with this reference are to be met by us.

Yours faithfully

# CONDITIONS OF CONTRACT

The Conditions of Contract shall be the JCT Intermediate Building Contract with Contractors Design 2024 with the following particulars and amendments.

Recitals:

First Recital - Proposed restoration works to Clitheroe Castle Keep as shown on drawings DR -S-300 Structural Repairs 1 of 2 and DR-S-301 Structural Repairs 2 of 2, the Specification and the Schedule of Works

Second Recital – The works include the temporary works designs and prop designs.

Third Recital – drawings DR -S-300 Structural Repairs 1 of 2 and DR-S-301 Structural Repairs 2 of 2.

Fourth Recital – The Employer has provided the Principal Contractor with the drawings DR-S-300 and DR-S-301, the Specification and the Schedule of Works.

Fifth Recital – Option A – Priced Schedule of Works.

Sixth Recital – The Principal Contractor should provide the Employer with Risk Assessments, Method Statements and the Construction Phase Health and Safet Plan, including any Contractor design elements.

Articles

Article 4 		For the purposes of this contract the Architect/Contract Administrator shall be Daniel Green, Principal Building Surveyor, Ribble Valley Borough Council.

Article 5 		For the purposes of this contract the Quantity Surveyor shall be Daniel Green, Principal Building Surveyor, Ribble Valley Borough Council.

Article 6 		For the purposes of the CDM Regulations the Principal Designer is Winston Robinson, Head of Engineering, Ribble Valley Borough Council

Article 7 		For the purposes of the Building Regulations the Principal Designer is Winston Robinson, Head of Engineering, Ribble Valley Borough Council

Contract Particulars

Fourth Recital – Proposed restoration works to Clitheroe Castle Keep as shown on drawings DR -S-300 Structural Repairs 1 of 2 and DR-S-301 Structural Repairs 2 of 2, the Specification and the Schedule of Works

Eighth Recital and clause 4.6 The Employer is not a Contractor for the purposes of CIS

Tenth Recital	CDM Regulations - The project is notifiable

Eleventh Recital	Not Applicable

Twelfth Recital	Not Applicable

Thirteen Recital and Schedule 4 – does not apply

Article 9 – Arbitration will not apply.

1.1

Base Date					To be midnight Monday 21st July 2025

Date for Completion of the Works	To be agreed in writing with the Principal Contractor. The appointed Principal Contractor should provide the Employer with a detailed Programme of Works within 21 days of award of contract and before works commence on site.

2.4

Date of Possession of Site		To be agreed in writing with the Principal Contractor subject to section 1.1

2.30 Rectification Period

The Rectification Period shall be 12 months from the date of Practical Completion of the whole works.

6.7 and Schedule 1 – Insurance Option A shall apply.

6.15 – The joint fire code does apply under Option A. The works are not considered to be a large project.

6.19 - £2 million professional indemnity insurance required for any one claim or series of claims arising out of one event up to and including 12 months after Practical Completion.

7.2.1 – Performance Bond is not required

Section 9.3.1

Adjudication - The Nominating body shall be the Technology and Construction Solicitors Association.

# AMENDMENTS - INSERT CLAUSE 10

10.1	The Employer shall be entitled to cancel the contract and to recover from the contractor the amount of any loss resulting from such cancellation if the contractor shall have offered or given or agreed to give to any person any gift or consideration of any kind as an inducement or reward for doing or forbearing to do or for having done or forborne to do any action in relation to the obtaining or execution of the contract or any other contract with the employer or for showing or forbearing to show favour or disfavour to any person in relation to the contract or any other contract with the employer or if the like act shall have been done by any person employed by the contractor or acting on its behalf (whether with or without the knowledge of the contractor) or if in relation to any contract with the employer the contractor or any person employed by it or acting on its behalf have committed any offence under the Prevention of Corruption Acts 1889–1916, or shall have given any fee or reward, the receipt of which is an offence under subsection (2) of Section 117 of the Local Government Act 1972.

CONFIDENTIALITY

10.2	Subject to clause 10.3, the parties shall keep confidential all matters relating to this agreement and shall use all reasonable endeavours to prevent their Representatives from making any disclosure to any person of any matters relating hereto.

10.3	Clause 10.2  shall not apply to any disclosure of information:

(a)	required by any applicable law, provided that clause 10.2  shall apply to any disclosures required under the FOIA or the Environment Information Regulations;

(b)	that is reasonably required by persons engaged by a party in the performance of such party's obligations under this agreement;

(c)	where a party can demonstrate that such information is already generally available and in the public domain otherwise than as a result of a breach of clause 10.2;

(d)	by the Employer of any document to which it is a party and which the parties to this agreement have agreed contains no commercially sensitive information;

(e)	to enable a determination to be made under Section 9 of The Intermediate Building Contract with Contractor’s Design 2024.

(f)	which is already lawfully in the possession of the receiving party, prior to its disclosure by the disclosing party;

(g)	by the Employer to any other department, office or agency of the Government; and

(h)	by the Employer relating to this agreement and in respect of which the Contractor has given its prior written consent to disclosure.

10.4	The contractor shall comply with all appropriate statutes, regulations, codes and agreements (including amendments thereto) relating to health, safety and welfare including, where applicable, The Borough of Ribble Valley, health and safety at work safety policy and codes of practice.

10.5	If, during the execution of the works, the contractor or his subcontractors discover materials or structures containing asbestos, they shall immediately report the matter to the Contract Administrator. The Contract Administrator shall issue instructions in regard to the treatment, removal and disposal of the asbestos. Such instruction may require the contractor to permit the removal of the asbestos by a third party. Any such third party, for insurance purposes, shall be a person for whom the employer is responsible and shall not be a subcontractor to the contractor.

If, in the opinion of the engineer, compliance with the provisions of this clause has involved the contractor in direct loss and/or expense for which he would not be reimbursed by a payment made under any other provision of this contract, then the engineer shall ascertain the amount of such loss and/or expense, and this amount shall be added to the contract sum.

FREEDOM OF INFORMATION

10.6	The contractor acknowledges that the employer is subject to the requirements of the Freedom of Information Act 2000 (FOIA) and the Environmental Information Regulations 2004 and shall assist and co-operate with the Employer (at the Contractor's expense) to enable the employer to comply with these information disclosure requirements.

10.7	The Contractor shall and shall procure that its Sub-Contractors shall:

(a)	transfer the Request for Information to the employer as soon as practicable after receipt and in any event within two Working Days of receiving a Request for Information;

(b)	provide the employer with a copy of all Information in its possession or power in the form that the employer requires within five Working Days (or such other period as the Employer may specify) of the employer requesting that Information; and

(c)	provide all necessary assistance as reasonably requested by the employer to enable the employer to respond to a Request for Information within the time for compliance set out in section 10 of the FOIA or regulation 5 of the Environmental Information Regulations.

10.8	The employer shall be responsible for determining at its absolute discretion whether commercially sensitive information and/or any other Information:

(a)	is exempt from disclosure in accordance with the provisions of the FOIA or the Environmental Information Regulations; and/or

(b)	 is to be disclosed in response to a Request for Information under the FOIA or the Environmental Information Regulations.

10.9	In no event shall the contractor respond directly to a Request for Information unless expressly authorised to do so by the employer.

10.10	The contractor acknowledges that the employer may, acting in accordance with the Secretary of State for Constitutional Affairs' Code of Practice on the discharge of public authorities' functions under Part 1 of FOIA (issued under section 45 of the FOIA, November 2004), be obliged under the FOIA or the Environmental Information Regulations to disclose Information:

(a)	without consulting with the contractor; or

(b)	following consultation with the contractor and having taken its views into account,

provided always that where clause 10.15(b) applies the employer shall, in accordance with any recommendations of the Code, take reasonable steps, where appropriate, to give the Contractor advanced notice, or failing that, to draw the disclosure to the Contractor's attention after any such disclosure.

10.11	The Contractor shall ensure that all Information produced in the course of the agreement or relating to the agreement is retained for disclosure and shall permit the Employer to inspect such records as requested from time to time.

10.12	The Contractor acknowledges that any lists or Schedules provided by it outlining Confidential Information are of indicative value only and that the Employer may nevertheless be obliged to disclose Confidential Information in accordance with clause 10.15.

DATA PROTECTION

10.13	The Contractor shall (and shall procure that any of its Contractor's Personnel involved in the provision of the agreement shall) comply with any notification requirements under the Data Protection Act 2018 (DPA) and both Parties shall duly observe all their obligations under the DPA, which arise in connection with the agreement.

10.14	Notwithstanding the general obligation in clause 10.18, where the Contractor is processing Personal Data as a Data Processor for the Employer, the Contractor shall ensure that it has in place appropriate technical and contractual measures to ensure the security of the Personal Data (and to guard against unauthorised or unlawful processing of the Personal Data and against accidental loss or destruction of, or damage to, the Personal Data), as required under the Sixth Data Protection Principle in Section 40 of the DPA; and

(a)	provide the Employer with such information as the Employer may reasonably require to satisfy itself that the Contractor is complying with its obligations under the DPA;

(b)	promptly notify the Employer of any breach of the security measures required to be put in place pursuant to clause 10.19; and

(c)	ensure it does not knowingly or negligently do or omit to do anything which places the Employer in breach of the Employer's obligations under the DPA.

# LIST OF SUBCONTRACTORS AND THEIR ROLES IN THE PROPOSED SCHEME

# SPECIAL REQUIREMENTS IN RELATION TO THE CENTRAL ELECTRICITY GENERATING BOARD AND AREA ELECTRICITY BOARDS

1.	In these special requirements the following expressions shall have the meanings assigned to them.

1.1	“Board” means the Central Electricity Generating Board and/or the Area Electricity Board(s) or any successors to these Boards.

1.2	“Board’s engineers” means the District Manager of the Generating Board and/or the Area Board concerned or his nominated representative.

1.3	“Plant or equipment” means any plant equipment or gear machinery apparatus or appliance or any part thereof as defined in the Construction (General Provisions) Regulations 1961 and the Construction (Lifting Operations) Regulations 1961.

2.	The work should be carried out to conform with the requirements of the Health and Safety Executive Guidance Note No GS6 “Avoidance of Danger from Overhead Electric Cables” and the National Joint Utilities group document “Recommendations on the Avoidance of Danger from Underground Electricity Cables”.

3.	3.1	Except under such restrictions as the Board’s engineer may impose for the safety of persons and the protection of property a distance of 15 metres shall be maintained at all times between any part of any plant or equipment or anything connected to such plant and equipment (eg the jib of a crane hoist rope load, etc) and any part of the Board’s electric lines where these lines are carried on wood poles. Excavation spoil must not be dumped or accumulated so as to cause infringement of these distances. The permission of the Board’s engineers must be obtained in writing before plant or equipment is operated or work of any kind is carried out within the above distances.

3.2	The contractor shall give at least 14 days’ notice to the Board’s engineers of the dates upon which it is intended to operate plant or equipment or carry out any work for which permission has been given by the Board’s engineers under paragraph 3(i). Such operations or work shall only be carried out in the presence of the Board’s engineers unless notice shall have been obtained in writing from the Board’s engineers that they do not require to be present.

3.3	In the event of the Board requiring work to be executed on the overhead electric lines or supports during the period of the contract, the contractor shall afford all facilities to the Board or its contractors and the contractor shall amend his programme of working to suit any and all requirements of the Board during such period of working.

3.4	The contractor shall consult the Board’s engineers as early as possible and such consultation shall not be less than fourteen days before it is proposed to commence work to ascertain whether any underground electricity cables or apparatus will be affected by the proposed work in which event the contractor shall make all necessary arrangements with the Board’s engineer to safeguard the cables or apparatus.

3.5	Work should not be carried out in the immediate vicinity of the overhead lines during periods of poor visibility. If this is not reasonably practicable, additional precautions must be taken to ensure maintenance of the appropriate safety clearance.

4.	The above requirements will not relieve the contractor of any responsibility for taking every precaution to avoid risk to persons or damage to property including compliance with Regulations 44 (2) of the Construction (General Provisions) Regulations 1961.

# SPECIAL REQUIREMENTS IN RELATION TO Cadent Gas Ltd

## GENERAL CONDITIONS AND PRECAUTIONS TO BE TAKEN WHEN CARRYING OUT WORK ADJACENT TO CADENT GAS LTD DISTRIBUTION APPARATUS

These general conditions and precautions apply to the distribution system of Cadent Gas Ltd and are additional to the requirements to be observed when carrying out work adjacent to the high pressure transmission and feedstock pipeline system (where relevant a copy of the latter conditions is attached hereto).

1.	On request, Cadent Gas Ltd will give approximate locations of mains according to their records. These records do not normally show the positions of service pipes from the mains to properties nor are they necessarily accurate or complete. No person or company shall be relieved from liability for damage caused by reason of the actual positions and/or depths being different from those shown on the plan. Any special requirements relative to our plant will be indicated. National Grid Gas PLC staff will visit any site at reasonable notice to assist in the location of gas plant and advise any precautions that may be required to obviate any damage.

2.	In order to achieve safe working conditions adjacent to any apparatus the following should be observed:

2.1	All gas apparatus should be located by hand digging prior to the use of mechanical excavation.

2.2	During construction work where heavy plant may have to cross the line of a gas main, and the main is not under a carriageway of adequate standard of construction, crossing points should be suitably reinforced with sleepers, steel plates or a specially constructed RC raft as necessary. These crossing points should be clearly indicated and crossing the line of the gas main at other places should be prevented. Cadent Gas Ltd staff will advise on the type of reinforcement necessary.

2.3	No explosives to be used within 32 metres of any Cadent Gas Ltd pipe without prior consultation with Cadent Gas Ltd.

2.4	Where it is proposed to carry out piling within 15 metres of any pipe, Cadent Gas Ltd should be consulted so that affected pipes may be surveyed.

3.	3.1	Where excavation of trenches adjacent to any pipe affects its support, the pipe must be supported to the satisfaction of the Cadent Gas Ltd engineer.

3.2	Where a trench is excavated crossing or parallel to the line of the pipe, the backfill should be adequately compacted to prevent any settlement which could subsequently cause damage to the main. In special cases, it may be necessary to provide permanent support to a pipe which has been exposed over the length of the excavation before backfilling and reinstatement is carried out. There should be no concrete backfill in contact with the pipe.

4.	No apparatus should be laid over and along the line of a gas pipe irrespective of clearance. A minimum clearance of 300 millimetres should be allowed between any plant being installed and an existing gas pipe to facilitate repair, whether the adjacent plant be parallel to or crossing the gas pipe. No manhole or chambers shall be built over or round a gas pipe.

5.	Where a Cadent Gas Ltd pipe is coated with special wrapping and this is damaged, even to a minor extent, Cadent Gas Ltd must be notified so that repairs can be made. If the damage is of a minor nature and can be repaired by our emergency team, no charge will be made for the repair, provided that the damaged part is not backfilled and access readily given. In the case of any material damage to the pipe itself causing leakage, or weakening of the mechanical strength of the pipe, the necessary remedial work will be charged.

6.	If leakage is caused by a contractor or subcontractor and an escape of gas is evident, the following action should be taken at once:

6.1	Remove all personnel from the immediate vicinity of the escape.

6.2	Inform Cadent Gas Ltd at the telephone number given.

6.3	Prevent any approach by the public, prohibit smoking, extinguish all naked flames or other source of ignition for at least 15 metres from the leakage.

6.4	Assist Cadent Gas Ltd personnel, police or fire services as may be requested.

# SPECIAL REQUIREMENTS IN RELATION TO OPENREACH LTD

1.	Before commencing any work or moving heavy plant or equipment over any portion of the site, the contractor shall confirm details of Openreach Ltd’ underground plant within the site with the appropriate telephone number.

2.	Where such details show that the contractor’s works or the movements of plant or equipment may endanger Openreach Ltd’ plant, the contractor must give the telephone manager at least one week’s notice of the date on which it is intended to commence such work of movement of plant and equipment in order that the presence of buried plant can be indicated by markers to be supplied by British Telecommunication and placed by the contractor under the supervision of a Openreach Ltd’ representative. The contractor shall ensure that Openreach Ltd’ plant is protected from damage.

3.	In the event of a Openreach Ltd’ marker being disturbed for any reason, it shall not be replaced other than in the exact position and to its former depth unless the repositioning is carried out at the direction and under the supervision of a Openreach Ltd’ representative.

4.	The above requirements do not relieve the contractor of any of his obligations under the contract.

5.	Raising of frames and covers:

5.1	Carriageway – unless expressly stated otherwise in the contract, Openreach Ltd has reserved the right to adjust its own apparatus within the carriageway. It will be the contractor’s responsibility to allow for this in his rates and programme accordingly as no claim for delays or additional cost will be entertained against this item.

5.2	Footway – additional specification Clause 517A refers.

# SPECIAL REQUIREMENTS IN RELATION TO UNITED UTILITIES, YORKSHIRE WATER AND THE ENVIRONMENT AGENCY (EA)

1.	The contractor is required to comply with the provision of the Rivers Prevention of Pollution Acts 1951 and 1961 or the Control of Pollution Act 1974 and any bylaws made thereunder, the Land Drainage Act 1976 and any bylaws made thereunder, and be responsible for obtaining any licences to abstract water for use on the works in accordance with the requirements of the Water Resources Act 1963 and any subsequent enactment.

2.	The contractor shall, before carrying out any temporary diversions or temporary works in the main channels of any river, stream, or water course, submit details of such work to the engineer for his approval and the approval of the engineer to the EA before the works are commenced.

3.	The contractor shall give seven days’ notice of any works authorised by the above approval to the area engineer of the EA.

4.	The contractor shall take all precautions during the carrying out of the works so as not to obstruct, impede or interfere with the flow of water in, into or out of the river, stream or watercourse and shall maintain the flow of any river, stream or watercourse at all times.

5.	The contractor shall take all necessary precautions to secure the efficient protection of all rivers, streams, waterways, lakes and the like against silting, erosion and pollution which may be likely to contaminate water supplies or to cause injury to fish or plant life.

6.	On completion of the works, any damage to the banks or the river channel shall be made good to the satisfaction of the engineer and the engineer of the EA and the banks and the river shall be left in a clean and tidy condition.

7.	The contractor will be responsible for making his own arrangements for obtaining mains water for the works and he shall comply with all local conditions regarding the use of water.

All details of the point of extraction receiving apparatus, abstraction methods, draw-off rates and times shall be agreed with and confirmed in writing to the engineer and the EA.

The contractor shall provide constant attendance when water is being drawn off any hydrant.

8.	Stand pipes will be loaned by district offices, subject to the payment of a deposit which will be refunded on the safe return of the apparatus on completion of the works.

Hydrants shall be inspected on completion of the works and it will be a condition of these arrangements to withdraw water that the cost of repairing damage to apparatus will be reimbursed by the contractor.

Any charges for water shall be borne by the contractor.

9.	The above requirements do not relieve the contractor of any of his obligations under the contract.

SPECIFICATION

GENERAL NOTES

1.	Clitheroe Castle Keep is a scheduled monument, of exceptional significance. The appointed contractor must demonstrate successful masonry and fabric repairs on similarly scheduled and grade i designated monuments. Work to the keep will be stringently supervised throughout the project by the client's representative, the structural engineer, and the monuments inspector.

2.	The work is intended to be supervised by a conservation accredited structural engineer.

3.	All dimensions are indicative or thereby and shall be confirmed by the contractor prior to fabrication.

4.	Keep tower to be thoroughly devegetated, removing all rootlets established in the masonry.

5.	The repair works must be planned to be undertaken with suitable protection from wind, rain and frost, and critically, that protection be left up until the mortar has sufficiently hardened to achieve suitable frost resistance.

6.	A considerable drying out period is envisaged before the mortar will meaningfully carbonate - this must be factored into the programme.

7.	A tactile survey shall be carried out by the structural engineer and any loosened masonry units shall be identified and locally pinned or indent rebuilt; for costing purposes anticipated frequency of 1nr. 200x200x200 unit / m2/ on elevation.

8.	All steelwork for permanent works shall be stainless grade a2-70 or g.304l according to detail u.n.o.

9.	All structural masonry repairs shall be undertaken  by a master craftsman, stone mason.

10.	If in doubt, contact clach.

Temporary works notes

11.	This schedule of works should be read in conjunction with the structural condition appraisal report.

12.	Temporary works shall be to the contractor's design.

13.	All temporary works shall be implemented in accordance with bs 5975.

14.	All scaffolding and temporary works to comply with bs 5975:2008. Scaffold shall be designed such that it engages the keep walls via non-intrusive compression connections only; this is a scheduled monument, and no invasive fixings shall be permitted.

15.	Scissor shores are a specialist domain and a safe working methodology shall be designed for this shoring work.

16.	Adjustable steel shores shall be installed plumb and loaded concentrically to bs 4074.

17.	All components must be stamped with allowable load rating (working load limit wll or swl stated).

CONTRACTOR-DESIGN ELEMENTS

18.	Temporary works design shall be the responsibility of the contractor, including access structures and shoring of the existing structure. Scaffolding shall require a bespoke design, and shall comprise an independent scaffold, and no intrusive fixings into the monument shall be permitted. Any compression braces shall be carefully packed with endplates and plywood packers with rubber plate to prevent gouging, scoring or other damage to the monument. Scaffold shall be fully decked, fitted with monoflex sheeting, with openable end bays to be interchanged with debris netting, to admit the control of humidity inside the scaffold.

19.	Shoring works will be to the contractor's design, to be approved by the twc, the structural engineer, and the monuments inspector. The main collapsing arch opening shall be shored with an adjustable centring system to the inner part of the wall, and the collapsing outer face shall be needle-propped either by shoring to ground or scissor-needling to maintain stability of the existing structure.

20.	Temporary works for the corner rebuilding will be to the contractor's design, comprising a shoring system built onto the scaffold. Existing self-weight design loading shall be supplied by the structural engineer to the scaffolding designer. Amendments to the scaffold are envisaged to admit the awkward nature of the corner rebuilding and propping, and shall be approved at each stage by the temporary works co-ordinator.

21.	Temporary works designs shall be inspected and approved by the temporary works co-ordinator, the structural engineer, and shall be to the satisfaction of the Historic England monuments inspector prior to commissioning.

22.	Lead works design shall be the responsibility of the contractor, and shall be in accordance with bs 6915:2001+a1:2014 code of practice for leadwork and the ltsa lead sheet manual.

23.	Temporary protection of the masonry works shall be the responsibility of the contractor. As a minimum requirement, the following must be implemented:  wall tops shall be covered with a waterproof tarpaulin or tent, guyed to draw water off the monument below - under no circumstances shall water from wall tops be allowed to pour down wall sides below. 3-ply hessian sheeting shall be held at a 100mm standoff distance from the masonry, and shall be dampened daily for a period of 4 weeks following completion of the masonry work. After 4 weeks, the hessian shall be left in place but allowed to dry out naturally. Aftercare shall be documented with dated photographs. The depth of carbonation in the mortar shall be checked with phenolphthalein indicator solution and must exceed an average of 5mm prior to removal of the protection.

PERMANENT WORKS

1.	rough racking to wall top to be carefully opened up, and existing mortar cleaned off the masonry units by hand methods. The existing wall top beneath the rough racking shall be consolidated, with boiling hot lime grout and localised rebuilding to re-set the upper course, to an anticipated rebuild depth of 400mm around the full perimeter. This shall be levelled off to a slight camber of 50mm at the centreline of the wallhead. Grout take is anticipated to be 3m3/ per linear metre around the full perimeter. Following the installation of the lead weathering, the rough racking shall then be built with hand packed random rubblework, with full mortar jointing to all bed & perpend joints. The upper units shall all be carefully laid to weathershot profile to each respective face of the wall, and carefully flaunched to effectively drain water off the wall.

2.	Lead weathering shall comprise code 8 thks, lapped and jointed to contractor's design, bedded on a cambered mortar bed. Lead is to be twice treated with heavy bitumen and sand casted with fine silica sand prior to placement. Drips shall be to the contractor's design, and shall be flush-tested by the structural engineer on inspection, and any areas which do not throw water off the monument (i.e. which pour water down the faces of the walls below) shall be rebuilt. The water-shedding efficacy of the wall top works is of vital importance, and shall be tested until approved by the structural engineer.

3.	Flaunching on wall tops and at thickenings / stepped ledges on wall sides shall be carefully aligned to shed water away from the wall at all times. Grooves shall be tooled in thicker bodies of mortar to guide water efficiently off the monument. Flaunching shall be flush-tested on inspection by the structural engineer, and any area that does not effectively shed water shall be opened up and rebuilt.

4.	Substrate preparation for masonry re-skinning and rebuilding shall comprise careful removal of all deleterious and organic matter, rigorous removal of all friable and loosened mortar and fragmented stone, back to sound hard masonry to the satisfaction of the structural engineer who will inspect and approve the substrate prior to further work progression. The substrate shall be thoroughly cleaned with brushes and jet washers as appropriate. All voids encountered shall be indent-grouted to refusal with boiling hot lime grout to the specification shown. Prior to rebuilding/re-skinning and/or mortar repairs, the substrate shall be dampened down to control suction.

5.	There are known voids in the tower walls. Substrate behind the areas to be taken down and rebuilt or re-skinned shall be consolidated with boiling hot lime grouting, anticipated grout take 1m3/ per metre height increment up the respective corner.

6.	Mortar for rebuilding and grout for consolidation shall be mixed to the specification, and under no circumstances shall any chemical additives be permitted, and proprietary mortar/grout products are forbidden: first principles mortar preparation from scratch is essential, on site.

7.	For indent rebuilding and re-skinning works, the repair shall be suitably keyed into the substrate, to the design of the structural engineer, which remains in abeyance until the downtaking works are complete. The engineer shall inspect the substrate and adjust the repair design accordingly. The anticipated bond requirements shall be traditional toothed bonding, with bond stones achieving a minimum of 150mm embedment in the repair and into the substrate each, at a spacing not exceeding a 450 x 450mm grid on elevation. Additional stainless metal tying / cramping is also envisaged, and helifix cemtie 1000x8mm g.a 4 cemtie deep pinning ties with bent end tack-welded into a 100mm dia. Loop for bedding in a full mortar bed-joint shall be employed at a spacing not exceeding a 450 x 450mm grid on elevation in addition to the masonry bonding.

8.	Masonry for rebuilding and re-skinning shall be bedded with full bed- and perpend- joints with the appropriate lime mortar, tamped in to minimise the thickness of the mortar joints while fully filling all the interstices. Limestone pinnings/gallets shall be rigorously employed to minimise the volume of mortar in the joints.

9.	Surface pointing shall be carefully closed to bond with the arises of the stone, and joint thickness shall not exceed 15mm on elevation (surface profile of the pointing nib to be recessed as required to maintain the 15mm thks). Unavoidably thicker pockets shall be galletted to minimise the volume of mortar in the joint. Gallets shall be driven into the mortar, not placed dry.

10.	Stone for replacement shall be agreed with Historic England's monuments inspector, shall comply with Historic England 'heag097' (sourcing stone for historic building repair), and shall match the existing Clitheroe grey limestone, tooled to match the existing masonry detail (squared rubble general walling, squared blockwork for quoining and other bond detailing).

11.	For all masonry to be taken down and rebuilt or otherwise repaired, the existing shall first be carefully recorded using a tracing frame, and each surface masonry unit labelled to admit verbatim reinstatement or logging of replacements. Photographic evidence of recording will be required by Historic England as part of the scheduled monument consent. Recording shall be approved by the structural engineer and monuments inspector prior to downtaking.

12.	The cemtie deep pins shall comprise 8mm ∅ g.304l and shall be installed strictly in accordance with helifix instructions.

13.	Structural masonry repairs shall be undertaken by a master conservation mason.

MORTAR SPECIFICATION AND METHODOLOGY

HOT-MIXED MORTARS FOR POINTING WORKS

General preparation

·	nb: a test panel should always be undertaken to allow for review and / or adjustment of the specification to suit local conditions.

·	the work should be planned such that the works are underway early in the building season, preferably between April through to August at the latest, if reasonable frost resistance is to be expected by early autumn. Winter protection will otherwise be required.

·	the contractor tendering the works must demonstrate their prior experience in preparation and execution of similar activities on similarly significant structures (e.g. listed or scheduled)

·	training and/or site demonstration should be requested from the materials supplier.

1.	Remove all vegetation and plant growth

2.	Substrate to be raked out as required, all friable material removed but sound bedding mortar to remain at depth.

3.	Minimum mechanical key required is approx. Twice the depth of the joint.

4.	Substrate to be brushed clean and dampened, but not wet to the point of standing water. Suction of the existing stone units is to be appraised during trial panels.

5.	Understand health and safety requirements for working with hot lime mortars. Eye protection is critical during the mixing stages, and dust masks are required as with all mortar mixing.

6.	Diphoterine eyewash is to be at hand for all operatives involved in lime work.

7.	Trial panels to be undertaken in advance of the main fabric repair stage of the contract to inform mix compatibility and viability relative to exposure and context.

HOT-MIXED LIME MORTARS (DRY SLAKED METHOD)

·	eye protection and dust masks must be worn when slaking and mixing.

·	pan/paddle mixer is required, drum mixer unsuitable.

·	for small batches, mix by hand on ply board.

·	mortar to be mixed in workable batches on the day of application, although may be allowed to cool and stiffen to ensure complete slaking.

·	constituent parts are specified by volume.

1.	Using a pair of rubber trugs or rubber drum with lid, add the quicklime. Dry-slake by adding one volume of water to one volume of quicklime. Close the lid to contain the steam. In round terms this means filling with water to the level of the quicklime.

2.	Do not firmly seal; allow slight vent for pressure release. Allow to cook for 15 minutes until no further steam escapes.

3.	Add all aggregates into a paddle mixer or ply board mixing pit; dry-mix to ensure well dispersed (cover with hessian to contain dust)

4.	Add the pozzolan or hydraulic gauging (brick dust/ trass/nhl/prompt/metakaolin) to the aggregate; dry-mix to ensure well dispersed.

5.	Mix the slaked lime hydrate and aggregate together through dry.

6.	Bank the dry mix, cover with waterproof tarpaulin and lay down for 24hrs.

7.	Dry-mix the mortar next day, and add the minimum amount of kneading water possible until a stiff pasty consistency is achieved - approximately 1.5 parts of water.

8.	Thoroughly beat the mortar and/or use mechanical whisk to knock up and plasticise.

9.	Under no circumstances should any chemical plasticisers or additives be used.

10.	Add the bare minimum of water - plasticity is to be achieved by mechanical means, not by the addition of further water which will promote shrinkage.

11.	The mix shall work through the paddle mixer (or be physically beaten) for 15 mins before being used.

12.	The mortar should be quite stiff but still pliable.

13.	Jointing finish is indicated on the drawing.

14.	No flat ledges / recesses are to be left anywhere on the fabric. In all cases the profile of the mortar shall be to deflect incident rainwater, throwing water off the wall as much as possible.

15.	The mortar should be firmly pushed into wetted prepared joints with a pointing iron / small tool, joints left slightly proud, not tidied up or over-worked.

16.	When becoming leathery in hardness (timescales vary according to environment – between a few hours on a hot windy day, to several days on cold / wet days), scrape surplus mortar off with wooden plastering lath and beat back with a stiff-bristled brush to wedge in the proud pointing, tighten any shrinkage cracking, roughen and open up the surface. Stippled finish is the finish requirement.

PROTECTION AND AFTERCARE: LIME MORTARS

17.	Protect afterwards as with all lime work, to the stonemasonry contractor’s method (this is a contractor-designed element of the work).

18.	In all cases the new work shall be protected from vertical rainfall or runoff from higher areas of construction: wall heads shall be wrapped in waterproof tarpaulin laid to throw water off the wall.

19.	Vertical surfaces liable to wind and wind-driven rain are to be protected with 3-ply hessian sheeting as a minimum for a period of four weeks following placement. The hessian is to be lightly misted with water throughout the first week. Thereafter it is important to keep the wall as dry as possible.

20.	Internal surfaces of the building must be well ventilated to help draw out the water from the core to maximise the carbonation potential of the new work on the outer face.

21.	Prior to removal of the scaffolding or rope suspended protection, carbonation profiling shall be undertaken to inform whether protection should be extended.

22.	At the bare minimum, the lime must have carbonated 5mm depth prior to removal of the netting from scaffold / rope suspended protection.

CEMENT-LIME MORTARS

·	eye protection and dust masks must be worn when mixing.

·	mixing by hand or use of forced action pan mixer is required, drum mixer unsuitable. Alternatively use a mechanical whisk.

·	mortar to be mixed in workable batches.

·	constituent parts are specified by volume.

1.	Add all aggregates into the mixer; dry-mix to ensure well dispersed.

2.	Add the cement and the lime hydrate to the aggregate; dry-mix to ensure well dispersed.

3.	Add sufficient kneading water to achieve a workable mortar.

4.	The mortar should be quite stiff but still pliable. Use straight away once working consistency is achieved.

5.	Pointing detail finish is indicated on the drawing. No flat ledges / recesses are to be left anywhere on the fabric. In all cases the profile of the mortar shall be to deflect incident rainwater, throwing water off the wall as much as possible.

6.	The mortar should be firmly pushed into dampened prepared joints with a pointing iron / small tool, joints left slightly proud, not tidied up or over-worked. A slight outward vee profile is desirable, intended to be beaten in to wedge the mortar firmly into the back of the joint.

7.	When becoming leathery in hardness (timescales vary according to environment – for natural cement mortars, this is a case of minutes), beat back with a stiff-bristled brush to wedge in the proud pointing, and tighten any shrinkage cracking.

8.	Before the mortar has completely hardened, a damp sponge should be brought across the surface to finish the joints and reveal the aggregate. An intimate seal is essential around the edges of the joint.

PROTECTION AND AFTERCARE: CEMENT-LIME MORTARS

9.	The cement-lime mortar should be kept damp for one week, with regular misting throughout each day, and protected from wind and direct sunlight to prevent drying out.

10.	Following completion of the hydration process, no further 	protection of the cement-lime mortars will be required

HOT-MIXED LIME GROUT

GENERAL PREPARATION

·	trial grouting of rubble hearting in rubber bucket should be undertaken to confirm consistency and flowability of grout.

·	trial panel of indent grout to be undertaken in an area of voided rubble core to perfect the technique.

·	the contractor tendering the works must demonstrate their prior experience in preparation and execution of similar activities on similarly significant structures (e.g. listed or scheduled)

·	training and/or site demonstration should be requested from the materials supplier.

·	eye protection must be worn while mixing and by all operatives using this material or nearby on scaffold.

1.	Preparation of grout shall follow the ordinary method of slaking. Under no circumstances shall any chemical plasticisers be used. Proprietary pre-mixed grouts shall not be permitted.

2.	The grout must be mixed in small batches, and must be used while boiling hot - it shall not be left to cool.

3.	Add all aggregates and pozzolans/hydraulic gauging to the mixer or barrel/drum; dry-mix to ensure well dispersed.

4.	Add the quicklime to the mixer (or suitable metal barrel/drum; thin plastic will melt).

5.	Slake the quicklime by adding 2 volumes of water to 1 volume of quicklime. Place a lid over the barrel/drum/mixer pan to keep the steam inside while the lime breaks down.

6.	Under no circumstances shall the kneading water be added at this stage – this will drown the lime and lead to poor bonding power and significant shrinkage. Cover, stand back and allow to expand and boil.

7.	Only after the boiling has subsided and the steam given off reduces shall the mix then be thinned, by the application of a further 1-1.5 measures of hot water, with vigorous paddle mixing, to achieve a thick double cream consistency.

8.	Continuous vigorous paddle mixing will be required to prevent stiffening of the grout, which is intended to be used while boiling hot. Use a mechanical whisk to maintain liquidity, not addition of further thinning water (which will just lead to more shrinkage).

9	While still boiling hot, decant to applicator bucket/pump and use immediately. Agitate with whisk until point of application in the wall to maintain plasticity.

10.	Continuously supply the wall to be consolidated with boiling hot lime grout until refusal.

WALL TOP MORTAR (CEMENT-LIME)

MIX T1

·	1 part cem i white cement

·	1 part lime hydrate (cl90 building lime)

·	5 parts washed nosterfield sharp sand (graded 2.3mm down)

·	slate gallets as required to minimise joint thicknesses where t>15, driven into mortar bed and over-pointed

WALL SIDES MORTAR (HOT-MIXED LIME)

MIX S1

·	1 part cl90 quicklime (kibbled or powder) - dry slaked

·	1 part nhl 5 (st astier)

·	2 parts portland stone dust (graded 1.38mm down-dust)

·	2 parts nosterfield sharp sand (graded 3mm down-dust)

·	1/2 part sieved coal ash (4mm-1mm)

·	limestone or slate gallets as required to minimise joint thicknesses where t>15, driven into mortar bed and left exposed (flush with pointing nib)

DESIGNERS' RESIDUAL RISK APPRAISAL

1.	The mid-height opening through the tower se face is loose, with masonry approaching collapse. The risk to public safety has been mitigated with the installation of temporary works - this will need to be unpicked to admit the creation of the permanent works repairs.

2.	Investigations have confirmed that the Victorian re-skinning works are only a thin veneer and are badly bonded to the structural substrate proper. Great care shall be required to implement the permanent works to avoid unplanned collapse of these slender elements.

3.	Downtaking of distressed, detaching facing skin is intended to commence from the tip of a corbel load triangle, working incrementally downwards, reappraising stability as work progresses. Temporary shoring will be required. Any unplanned structural movement to be identified to the engineer who will revise the working methodology accordingly.

4.	Site operatives shall be briefed on the serious/dangerous parts of the structure prior to commencement of the works. This drawings package must be read in conjunction with the structural condition appraisal report.

5.	Loose masonry remains at height, small sneck units sitting in weathered joints exist sporadically throughout the keep.

SCHEDULE OF WORKS

| Item | Description | Qty | Unit | Rate (£’s) | Amount (£’s) |
| --- | --- | --- | --- | --- | --- |
| A | Preliminaries (24 weeks) Public Liability Insurance Employers Liability Insurance Professional Indemnity Insurance Insurance of the Works | Item Item Item Item | Sum Sum Sum Sum |  |  |
|  | Construction Phase Health and Safety Plan | Item | Sum |  |  |
|  | O & M Manual | Item | Sum |  |  |
|  | Welfare | Item | Sum |  |  |
|  | Programme (Gantt Chart) | Item | Sum |  |  |
|  | Contract Management | Item | Sum |  |  |
|  | Site Management | Item | Sum |  |  |
|  | Meetings | Item | Sum |  |  |
|  | Design by Contractor | Item | Sum |  |  |
|  | Travel Costs | Item | Sum |  |  |
|  | Removal of Debris & Waste | Item | Sum |  |  |
|  | Pre-Contract High Level Site Inspection | Item | Sum |  |  |
|  | Structural Engineers Costs (Provisional) | Item | Sum |  |  |
|  | Temporary Work Design | Item | Sum |  |  |
|  | Site Clean | Item | Sum |  |  |
|  | Project gant chart | Item | Sum |  |  |
|  | Toolbox talk for impact on bats | Item | Sum |  |  |
|  | Supply and install 1No Bat box - One Greenwood Eco Habitats two crevice box to be positioned at least 4m high facing south east on a tree close to the keep | Item | Sum |  |  |
|  | Site Setup & De-Camp | Item | Sum |  |  |
|  | Machinery delivery & collection | Item | Sum |  |  |
| B | Scaffolding. Allowed for scaffold installation. (24 Weeks) |  |  |  |  |
|  | Courtyard loading bay and attached gantry to provide movement up to the keep. | Item | Sum |  |  |
|  | Independent type tube and fitting scaffold to be erected to the external elevations of the keep for access to masonry repairs. | Item | Sum |  |  |
|  | Independent type tube and fitting bird cage scaffold to all internal elevation for masonry repairs. | Item | Sum |  |  |
|  | Temporary roofing system to provide weather protection. | Item | Sum |  |  |
|  | Installation of 4m high protection hoarding to all elevations of the keep. | Item | Sum |  |  |
|  | Installation of lockable door to hoarding. | Item | Sum |  |  |
|  | Installation of scaffold security alarm to keep scaffolding. | Item | Sum |  |  |
|  | Installation of shrink wrap weather protection to external keep scaffold - Installed once only - guaranteed for six months only be shrink wrapped by specialists. | Item | Sum |  |  |
|  | Additonal Shrink wrap x2 | Item | Sum |  |  |
|  | Additional alterations to scaffolding during works phase. | Item | Sum |  |  |
|  | Weekly scaffolding inspections | Item | Sum |  |  |
|  | Scaffolding Design & Calculations | Item | Sum |  |  |
|  | Preliminaries Total: |  |  |  |  |
| Item | Description | Qty | Unit | Rate (£’s) | Amount (£’s) |
|  | Section 1 (Structural Repairs) |  |  |  |  |
|  | Install propping detail 02-E to SE elevation | Item | Sum |  |  |
|  | Rebuilding of inner arch as per detail 02-D | Item | Sum |  |  |
|  | Record each stone & dismantle external triangle over the working area. |  |  |  |  |
|  | Install 2.No Naylor Hi-spec prestressed concrete lintels embedded in wall behind facing masonry. | Item | Sum |  |  |
|  | Install 2.No 30mm x 30mm G304L flat bar splints to support BTM courses, bent at each end to embed in concrete pockets behind jamb facing masonry units. | Item | Sum |  |  |
|  | Install missing masonry to jambs either side of opening, where proposed bearing surface is undercut. | Item | Sum |  |  |
|  | Rebuild partially collasped masonry arch to be extended inwards and outwards to provide a structurally load bearing arch repair. | Item | Sum |  |  |
|  | Rebuild masonry above the newly installed lintels. | Item | Sum |  |  |
|  | Install propping to NW elevation to undertake detail 04 | Item | Sum |  |  |
|  | SE Elevation - Record each stone and take down inner body of false arch, rebuild with ties to engage barrel vault and provide flagstone across head of corbels. Ties to comprise stainless G.A2-70 stone cramps to further design & Detail. Pending opening up works to provide substrate to be resin anchored to substrate, allow ties at 225mm x 225mm grid each jamb profile. | Item | Sum |  |  |
|  | In spiral staircase reinstate missing step courses to ease flow of force down spiral. | Item | Sum |  |  |
| Item | Description | Qty | Unit | Rate (£’s) | Amount (£’s) |
|  | Section 1 (Structural Repairs) Continued |  |  |  |  |
|  | Spiral Stairs - Record each stone & dismantle / rebuild slumping body of spiral arch on competent springing support formed on steel back-prop below flagpole (to further detail) | Item | Sum |  |  |
|  | Spiral Stairs - Replace fragmented stone lintel at entrance with sandstone lintel of matching shape to existing. | Item | Sum |  |  |
|  | Fireplace - record , take down and rebuild distressed fireplace with PSC lintels embedded in masonry. Provide flat-bar support to BTM course, to detail. | Item | Sum |  |  |
|  | East Corner - Record, take down and assess corner reskinning works to assess for reclamation potential. Expose the structural walling substrate for engineering inspection. Pressure point / indent-grout voiding where encountered tooth bond and tie new / rebuilt facing skin and tie new/rebuilt facing skin into jamb and the body of wall proper to Detail 03 | Item | Sum |  |  |
|  | North Corner - Record, take down and assess corner reskinning works to assess for reclamation potential. Expose the structural walling substrate for engineering inspection. Pressure point / indent-grout voiding where encountered tooth bond and tie new / rebuilt facing skin and tie new/rebuilt facing skin into jamb and the body of wall proper to Detail 03 | Item | Sum |  |  |
| Item | Description | Qty | Unit | Rate (£’s) | Amount (£’s) |
|  | Section 1 (Structural Repairs) Continued |  |  |  |  |
|  | West Corner - Record, take down and assess corner reskinning works to assess for reclamation potential. Expose the structural walling substrate for engineering inspection. Pressure point / indent-grout voiding where encountered tooth bond and tie new / rebuilt facing skin and tie new/rebuilt facing skin into jamb and the body of wall proper to Detail 03 | Item | Sum |  |  |
|  | North West Elevation - centre opening, record, shore, take down, and rebuild distressed slender jamb. Reinstate portion of collapsed masonry arch to inner face to support body of wall over. | Item | Sum |  |  |
|  | Northwest Elevation - lower section, take down, re-skinning works and rebuild to a consolidated profile. Toothed & tied to the body of the wall behind pressure point / indent grout voids as encountered. | Item | Sum |  |  |
|  | Soth West Elevation - LHS opening. Barrel to be shored and jamb facing skins to be recorded and dismantled. Rebuilt to consolidated profile, fragmented masonry units to be replaced. Rebuild to a fully closed tooth bonded profile. | Item | Sum |  |  |
|  | Section 1 Total: |  |  |  |  |
| Item | Description | Qty | Unit | Rate (£’s) | Amount (£’s) |
|  | Section 2 Wallhead Works inc. Stair Tower |  |  |  |  |
|  | Record wallhead before any works takes place. | Item | Sum |  |  |
|  | Dismantle wallhead using tracing frames, allow to remove all cementitious mortars. This is to be done in sections. All masonry to be sorted on scaffolding in the elevations it was dismantled. | Item | Sum |  |  |
|  | Wallhead to be taken down to an even surface. All voids to be hot lime grouted. | Item | Sum |  |  |
|  | Wallhead to be make good and as level as possible, ready to receive lead weathering. | Item | Sum |  |  |
|  | Install Code 8 Lead weathering to wallhead. Brought across full profile of the wallhead. Lapped 7 jointed to Master Craftsman details. To be dressed to achieve a throated drip of 30mm from the face of the masonry below. Edge support to master craftsman details. (Oak batten fixed to wallhead). Leadwork to have 2.No coats of bitumen on both sides. Top side to also be coated in sand. | Item | Sum |  |  |
|  | Rebuilt wallhead using the tracing fames and stored masonry. Rough racking to taper from the centre to the edge unless the wallhead has single pitch fall. All rough racking to be rebuilt to ensure no standing water. On completion test rough racking in the presents of engineer. | Item | Sum |  |  |
|  | Section 2 Total: |  |  |  |  |
| Item | Description | Qty | Unit | Rate (£’s) | Amount (£’s) |
|  | Section 3 Internal Work |  |  |  |  |
|  | All vegetation is to be removed in its enitirty using root picks. Areas are to be treated with herbiside prior to pointing. Any heavy vegetation areas is to be local dismantled and rebuild, removing all the roots systems and treated. Tracing frames are to used for this work. | Item | Sum |  |  |
|  | (Provisional Sum) allow to rebed masonry following removal of deep rooted vegetation. | Item | Sum |  |  |
|  | (Provisional Sum) patch pointing to areas where vegetation has been removed. | Item | Sum |  |  |
|  | Section 3 Total: |  |  |  |  |
|  | Totals |  |  |  |  |
|  | Preliminaries Total (Page 67) |  | Sum |  |  |
|  | Section 1 Total (Page 70) |  | Sum |  |  |
|  | Section 2 Total (Page 71) |  | Sum |  |  |
|  | Section 3 Total (Page 72) |  | Sum |  |  |
|  | Total |  |  |  |  |
|  | Contingency @ 20% |  |  |  |  |
|  | Grand Total |  |  |  |  |